SYSTEM ARCHITECTURE (INDUSTRY-LEVEL VIEW)

1. System Overview

The system represents a simplified urban electrical network digital twin, structured according to real-world utility layers:

- Generation Layer

- Transmission Layer

- Distribution Layer

- Consumption Layer

Each layer reflects how energy is:

Produced → Transported → Transformed → Delivered → Consumed

The platform provides a spatial interface to observe, inspect, and understand these layers as an interconnected system.

2. Architectural Philosophy

The system is built on three core principles:

2.1 Asset-Centric Model

Every component in the grid is treated as an asset with identity, state, and relationships.

2.2 Network as a Connected System

The grid is not visualized as isolated components, but as a connected topology where each asset influences others.

2.3 Spatial Context First

All assets exist within a geographical context, enabling intuitive navigation and system understanding.

3. Layered Infrastructure Model

3.1 Generation Layer

Purpose:
Represents energy production sources feeding into the grid.

Assets Included:

- Solar Power Plant (renewable, variable output)

- Gas Power Plant (dispatchable, stable output)

Operational Characteristics:

- Generation capacity and availability

- Output variability (renewables vs controllable generation)

- Contribution to grid supply

System Role:

- Acts as the entry point of energy flow

- Supplies power into the transmission network

3.2 Transmission Layer

Purpose:
Transfers bulk power over long distances from generation to distribution nodes.

Assets Included:

- High-voltage transmission lines

Operational Characteristics:

- Power flow capacity

- Line loading

- Transmission losses (simplified)

System Role:

- Connects generation assets to substations

- Maintains system-wide energy flow continuity

3.3 Distribution Layer

Purpose:
Steps down voltage and distributes electricity to end users.

Assets Included:

- Substations

- Medium/low voltage feeders

Operational Characteristics:

- Voltage transformation levels

- Load aggregation

- Network branching structure

System Role:

- Acts as intermediate control points

- Bridges transmission and consumption layers

3.4 Consumption Layer

Purpose:
Represents end-user demand within the network.

Assets Included:

- Residential clusters

- Industrial consumers

Operational Characteristics:

- Demand variability over time

- Peak consumption patterns

- Load profiles by category

System Role:

- Defines demand-side behavior

- Drives upstream system loading

4. Cross-Layer Interactions

The system models key real-world relationships:

4.1 Energy Flow

- From generators → through transmission → into substations → to consumers

4.2 Load Propagation

- Consumer demand aggregates upstream

- Influences substation loading and generator output

4.3 Network Dependency

- Each asset depends on upstream supply and downstream demand

5. Digital Representation Layers

Each physical asset is represented digitally through three dimensions:

5.1 Structural Representation

- Asset type, location, and connectivity

- Defines the network topology

5.2 Operational State

- Current output, load, or demand (simulated)

- Reflects real-time system behavior

5.3 Temporal Behavior

- Historical trends (last 24 hours)

- Forecasted behavior (next 24 hours)

6. User Interaction Model (Operational Perspective)

The system supports a workflow similar to a utility operator:

6.1 System Overview

- View entire city grid

- Identify key infrastructure nodes

6.2 Asset Inspection

- Select any asset

- Access:

  - Technical specifications

  - Current operating state

  - Historical performance

  - Expected behavior

6.3 Network Context Awareness

- Visualize connected assets

- Understand upstream supply and downstream impact

6.4 Layer-Based Analysis

- Toggle visibility of:

  - Generation

  - Transmission

  - Distribution

  - Consumption

7. Data Abstraction Strategy

The system uses simplified but realistic data representations:

7.1 Static Data

- Asset specifications

- Network topology

7.2 Simulated Operational Data

- Generated using deterministic patterns:

  - Solar: time-dependent variability

  - Gas: stable baseline

  - Demand: behavioral profiles

7.3 Forecast Data

- Short-term projections based on current trends

8. System Boundaries

Included:

- Electrical network visualization

- Asset-level inspection

- Simplified operational behavior

Not Included:

- Protection systems

- Market operations

- Detailed power flow physics

- SCADA integration

9. Value Proposition (Industry Framing)

This system demonstrates:

- A human-centric interface for grid understanding

- A bridge between engineering data and operational intuition

- A foundation for future:

  - Planning tools

  - Scenario analysis

  - Real-time monitoring systems

10. Positioning

This is not a replacement for existing utility systems.

It is:

A visual interaction layer that sits above traditional infrastructure systems, enabling intuitive exploration and decision support.

END OF DOCUMENT